**Elbow stopcock**

Chrome-plated 3/4"

Reference: **765020**

Specification description

Stopcock and flow rate regulator.

FF3/4".

Chrome-plated.

30-year warranty.