**Offset connector**

From 21mm, universal

M1/2" - M3/4", 2 per pack

Reference: **857027.2P**

Specification description

Universal offset connector from 21mm (patent pending).

For mixers with centres from 110 - 190mm.

M1/2" - M3/4" .

ABS escutcheon Ø 70mm.

L. 62mm.

Solid brass.

Supplied in packs of 2.

30-year warranty.