BAILA floor-standing washbasin

Reference: 120170

CCTP description

Floor-standing washbasin, height 830mm. Basin internal diameter: 310mm.

Design-led styling.

Can be wall-mounted and/or floor-standing.

Bacteriostatic 304 stainless steel.

Polished satin finish.

Stainless steel thickness: 0.8mm.

Rounded edges prevent injury. No tap hole.

Supplied with 1 ¼" waste. Without overflow.

Supplied with fixing elements.

CE marked. Complies with European standard EN 14688.

Weight: 12kg.

[Formerly ref: 0210170015]