**ON/OFF waste**

Washbasin waste 1¼"

Reference: **581000**

Specification description

Washbasin waste M1¼" with stainless steel valve with free flow.

Recommended for all washbasins equipped with electronic or time flow mixers/taps and washbasins with an overflow.

Open/close by pressing the top of the waste.