Comfort backrest for WCs

UltraPolish bright polished stainless steel structure

Black polyurethane

Reference: 510629

Specification description

Comfort backrest for WCs for people with reduced mobility.

Structure made from UltraPolish bright polished 304 stainless steel.

Backrest for toilets made from soft polyurethane.

Tube Ø 25mm x 12mm.

Fixings concealed by a 3-hole cover plate, 304 stainless steel, Ø 72mm.

304 stainless steel cover plates.

Dimensions: 150 x 580 x 173mm.

30-year warranty.