ECO straight grab bar Ø 25mm, 500mm

304 bright polished stainless steel

Ø 25mm, visible fixings

Reference: 532

Specification description

ECO straight grab bar for people with reduced mobility.

Ø 25mm tube, 500mm centres.

Grab bar made from bright polished 304 stainless steel.

Visible fixings, secured to wall by a 3-hole plate.

30-year warranty.