**ALU shower stool**

White powder-coated aluminium structure

Reference: **510418**

Specification description

ALU shower stool.

Shower stool for disabled people or people with reduced mobility.

Large plastic slats are comfortable and easy to maintain.

Structure made from white aluminium tube Ø 25mm x 2mm.

Dimensions: 400 x 360 x 480mm.

Seat height: 480mm.

Tested to over 200kg. Maximum recommended user weight: 135kg.

Plastic protective caps on feet.

Shower stool with 30-year warranty.