Jumbo toilet paper dispenser - 400m

Large model for 400m rolls

White lacquered steel

Reference: 2910

Specification description

Wall-mounted toilet paper dispenser.

Large model for 400m rolls.

Toilet paper dispenser made from white lacquered steel.

One-piece hinged cover for easy maintenance and better hygiene.

With back-piece: protects paper from imperfections in wall, humidity and dust.

With lock and standard DELABIE key.

Level control.

Dimensions: Ø 305mm, depth 135mm.

For Ø270mm rolls with max. 120mm width with Ø 45mm spindle.

30-year warranty.