Wall-mounted stainless steel bin with lid and lock, 16 litres

Bin for paper towels and waste paper with lid

Polished satin stainless steel

Reference: 6617

Specification description

Wall-mounted rectangular bin for paper-towels and waste paper.

System for fixing a bag in the bin.

With lock and standard DELABIE key.

Bright polished stainless steel lid.

Capacity 16 litres.

Stainless steel thickness: 1mm.

Polished satin stainless steel.

Dimensions: 130 x 275 x 475mm.

30-year warranty.