**Bright polished stainless steel coat hook, long model**

Bright polished 304 stainless steel

Long model

Reference: **4047P**

Specification description

Designer coat hook, long model.

Wall-mounted coat hook.

Bright polished 304 stainless steel.

Tube Ø 20mm, metal thickness 1mm.

Concealed fixings.

Dimensions: Ø 62 x 100 x 73mm.

30-year warranty.