**Elbow connector**

For Ø 20mm tubes

Reference: **2393**

Specification description

For two Ø 20mm shower curtain rails.

Elbow connector for assembling angled shower curtain rails.

304 stainless steel.

With push-fit connectors for mounting.

Dimensions: 150 x 150mm.

30-year warranty.