Connecting tube

Cut-to-size

Length 900mm

Reference: 2399

Specification description

Cut-to-size connection tube for shower curtain rails.

Bright polished 304 stainless steel, 1mm thick.

Length 900mm, Ø 20mm.

Longer tubes available on request.

30-year warranty.