Black Nylon flexible hose

For retracting hand sprays

with counterweight

Reference: 835T1

Specification description

Black Nylon flexible hose L. 1.50m for retracting hand sprays with counterweight.

Conical union F1/2" and cylindrical union M15X1.