**Black Nylon flexible hose**

For retracting hand sprays

with counterweight

Reference: **835T1**

Specification description

Black Nylon flexible hose L. 1.50m for retracting hand sprays with counterweight.

Conical union F1/2" and cylindrical union M15X1.