Reinforced exposed union

With stud nut

MF1/2"

Reference: 841315

Specification description

Reinforced exposed union in chrome-plated brass.

With stud nut Ø 14.

Fixed by 2 screws 5 x 35, supplied.

MF1/2".

30-year warranty.