Wall-mounted elbow outlet

For shower hoses

MM1/2"

Reference: 868121

Specification description

Wall-mounted elbow outlet for shower hoses.

Solid brass.

MM1/2".

30-year warranty.