Connectors with non-return valves

For FM1/2" flexibles

2 per pack

Reference: C291AH75

Specification description

Connectors with a filter and non-return valve for FM1/2" flexibles.

Prevent any backflow of contaminated water into the system.

Prevent cross flow of cold and hot water.

Chrome-plated brass.

Supplied in packs of 2.