**SILVER flexible shower hose**

Smooth PVC flexible hose FF1/2"

L. 1.50m

Reference: **836T1**

Specification description

Smooth, metal-effect, reinforced PVC, SILVER flexible shower hose, FF1/2", L. 1.50m.

Easy to maintain and limits bacterial retention.

PVC reinforced hose with thread polyester conforms to European standard EN 1113.

Smooth, food grade, PVC inner tube.

Chrome-plated, conical brass connectors 1/2".

Will withstand strain up to 50kg, bending and twisting.