Polyamide flexible shower hose

Black flexible hose FF1/2"

L. 1.50m

Reference: 830T1

Specification description

Black Polyamide flexible shower hose FF1/2" L. 1.50m.

Universal, food-grade EPDM reinforced with Polyamide threads complies with European standard EN 1113.

Metal conical connectors 1/2" and milled metal union 1/2".

Will withstand strain (50kg), bending and twisting.