**Chrome-plated shower head with 5 jets, M1/2"**

Ø 100mm, scale-resistant

Reference: **813**

Specification description

M1/2" shower head, Ø 100mm.

Chrome-plated ABS.

5 jets: rain effect, massage, bubbles, rain and massage effect, bubbles and rain effect.

 Manual system for removing limescale: scale deposits can be removed by rubbing the holes.