Exposed wall-mounted hook for hand spray

Chrome-plated brass

Reference: 1585

Specification description

Chrome-plated brass hook for push-button hand spray ref. 434182.

For surface mounting.