White, reinforced PVC flexible hose

L. 1.25m

Reference: 434125

Specification description

White, opaque, reinforced PVC flexible hose, FF1/2" L. 1.25m.

Prevents the development of germs or algae due to the light.

Rotating nuts FF1/2" prevent the flexible from twisting.

Pre-mounted unions provide a waterproof seal.