Moulded escutcheon

For 1/2" taps

Ø 21/60, 2 per pack

Reference: 292015.2P

Specification description

Moulded escutcheon.

Hides scratches on the enamel around tap holes.

For 1/2" taps, Ø 21/60mm.

Solid brass.

Supplied in packs of 2.

30-year warranty.