**Fixed cast spout**

L.140mm, H.120mm

Deck-mounted

Reference: **981142**

Specification description

Spout L. 140mm, H. 120mm, M½".

Reinforced fixing by 3 stainless steel screws.

Chrome-plated solid brass.

Scale-resistant flow straightener regulated at 3 lpm.

30-year warranty.