Swivel swan neck spout

L.150mm, H.120mm

Deck-mounted

Reference: 967152

Specification description

Swan neck spout M½".

L. 150mm, H. 120mm.

Fixing by back-nut.

Chrome-plated brass.

Scale-resistant flow straightener regulated at 3 lpm.

30-year warranty.