L-shaped spout

L. 120mm, H. 60mm

For panels

Reference: 941922

Specification description

Tubular spout Ø 18mm, M½".

L. 120mm.

For panels ≤ 10 mm.

Chrome-plated brass.

Tamperproof scale-resistant flow straightener regulated at 3 lpm.

30-year warranty.