Fixed spout

L. 160mm

Wall-mounted

Reference: 947170

Specification description

Wall-mounted spout Ø 32mm, M½".

L. 160mm.

Chrome-plated solid brass.

Scale-resistant flow straightener regulated at 3 lpm.

30-year warranty.