Swan neck tap

For water fountains

For Rilsan tube 4 x 6

Reference: 311TR1

Specification description

Swan neck tap for water fountains:

Instant shut-off.

Adjustable flow rate.

Chrome-plated brass body and stainless steel spout.

Connection for Rilsan tube 4 x 6.

30-year warranty.