**Swan neck tap**

For water fountains

M3/8"

Reference: **311QU1**

Specification description

Swan neck tap for water fountains:

Instant shut-off.

Adjustable flow rate.

Chrome-plated brass body and stainless steel spout.

Connection M3/8".

30-year warranty.