Push-button control

For swan neck spout and bubbler

For Rilsan tube 4 x 6

Reference: 319T61

Specification description

Control valve.

Instant shut-off.

For swan neck spout and bubbler.

Chrome-plated brass.

Connector for Rilsan tube 4 x 6.

30-year warranty.