Shower head

With grid

Ceiling-mounted, 5 rings

Reference: 88CH5

Specification description

Ceiling-mounted shower head:

Fixed and tamperproof.

Grid with 5 rings.

Chrome-plated brass.

30-year warranty.