In-line STOP union

With stopcock and retractable screw

MF1/2"

Reference: 825215

Specification description

Integrated stopcock.

Nickel-plated brass.

Retractable screw.

MF1/2’’.

L.70mm.

30-year warranty.