**In-line STOP union**

With stopcock and retractable screw

MF1/2"

Reference: **825215**

Specification description

Integrated stopcock.

Nickel-plated brass.

Retractable screw.

MF1/2’’.

L.70mm.

30-year warranty.