Elbow STOP union

With stopcock

MF1/2"

Reference: 836015

Specification description

Integrated stopcock.

Chrome-plated brass.

Retractable nut.

MF1/2".

L.30mm.

H.30mm.

30-year warranty.