Elbow STOP union

With stopcock

M1/2" F3/4"

Reference: 836020

Specification description

Integrated stopcock.

Chrome-plated brass.

Retractable nut.

M1/2"-F3/4".

L.30mm.

H.30mm ±2 mm.

30-year warranty.