Elbow union

Without stopcock

MF1/2"

Reference: 838015

Specification description

Without stopcock.

Chrome-plated brass.

Retractable nut.

MF1/2".

L.30mm, H.27mm.

30-year warranty.