Elbow union

Without stopcock

M1/2" F3/4"

Reference: 838020

Specification description

Without stopcock.

Chrome-plated brass.

Retractable nut.

M1/2"-F3/4".

L.30mm, H.29mm.

30-year warranty.