Elbow union

With captive nuts

FF3/4"

Reference: 874220.2P

Specification description

Without stopcock.

Chrome-plated brass.

Captive nut.

FF3/4".

L.30mm, H.20mm.

Supplied in packs of 2.

30-year warranty.