Back-nut

with 3 screws

F1/2"

Reference: 826315

Specification description

Rough brass back-nut F1/2".

For cross wall control 1/2".

Reinforced clamp behind wall or beneath the washbasin.

3 stainless steel screws.

Supplied with sealing washer Ø 44mm.

30-year warranty.