Urinal outlet

Without nut

1¼"

Reference: 776000

Specification description

Urinal outlet without nut:

Inlet Ø 50mm with compression seal.

Outlet M 1¼".

Chrome-plated brass.

30-year warranty.