Stall waste

Reference: 785000

Specification description

Stall waste with integrated siphon.

With stainless steel inlet filter and polypropylene body.

Outlet Ø 40mm with nut.

30-year warranty.