Elbow stopcock

Chrome-plated 3/4"

Reference: 765020

Specification description

Stopcock and flow rate regulator.

FF3/4".

Chrome-plated.

30-year warranty.