Safety shower head

Reference: 9225

Specification description

Round safety shower head, Ø 250mm M1" in green, shock-resistant ABS.

Flow rate 132 lpm at 3 bar dynamic pressure).

Water supply F1".

30-year warranty