**Aerator F22/100 for eye wash sprays**

With grid for comfortable spray

Reference: **A22D75**

Specification description

Aerator F22x100 with grid for comfortable spray.

For eye wash hand sprays (refs. 9120C, 9140C, 9121 9141).