LONG-LIFE universal tap head

With Gamma control knob

3/8" (12/17)

Reference: G370012

Specification description

LONG-LIFE universal tap head.

Chrome-plated brass control knob.

Seat length from 16 to 32 mm.

Spare head for long seat and LONG-LIFE head.

Enables renovation of taps by complete standard change of the head and the control knob

Supplied with blue and red chips

Thread 3/8" (12/17).