Scale-resistant, water saving aerator

M24x100

6 lpm

Reference: 925624.2P

Specification description

Scale-resistant, water saving aerator.

With blue flow rate regulator set at 6 lpm.

Supplied in packs of 2.

M24x100.