Pillar union

With escutcheons, MM

M1/2" - M3/4", without nut, 2 per pack

Reference: 865127.2P

Specification description

Pillar union with escutcheon.

Without nut.

H. 64mm.

M1/2" - M3/4".

Solid brass.

Supplied in packs of 2.

30-year warranty.