Pillar tap

With swivelling spout

Long-Life valve head, M1/2"

Reference: D2553

Specification description

Pillar tap with Long-Life valve head.

DELTA chrome-palted control knob.

Swivelling tubular spout Ø 22mm.

H. 190mm, L. 150mm.

Scale-resistant flow straightener regulated to 3 lpm.

Body and spout in chrome-plated brass.

30-year warranty.