Water hammer absorber

Water hammer absorber F1"

H. 98mm

Reference: 23026

Specification description

Water hammer absorber with stainless steel spring and piston.

Rough cast brass.

Absorbs the smallest pressure variations and water hammer up to 20 bar.

F1", H. 98mm.

30-year warranty.