Solenoid valve ½"

For TEMPOMATIC multifunction unit

For basins, showers, urinals with cable

Reference: 495626CEB

Specification description

Solenoid valve ½" for basin,shower or urinal with 4m cable.

30- year warranty.